## water_level_loggers
date | time | serial_number | model | project | location | observation | notes
|  | 21821230 | HOBO U20L-04 |  |  | extra | bought new from Onset
|  | 21821227 | HOBO U20L-04 |  |  | extra | bought new from Onset
|  | 21821234 | HOBO U20L-04 |  |  | extra | bought new from Onset
|  | 21821232 | HOBO U20L-04 |  |  | extra | bought new from Onset
|  | 21821231 | HOBO U20L-04 |  |  | extra | bought new from Onset
|  | 21821228 | HOBO U20L-04 |  |  | extra | bought new from Onset
|  | 21821229 | HOBO U20L-04 |  |  | extra | bought new from Onset
2023-09-13 |  | 21821230 | HOBO U20L-04 | BEGI | SLOC | renamed | renamed as SLO_C
2023-09-13 |  | 21821227 | HOBO U20L-04 | BEGI | SLOW | renamed | renamed as SLO_W
2023-09-13 |  | 21821234 | HOBO U20L-04 | BEGI | VDOW | renamed | renamed as VDO_1
2023-09-13 |  | 21821232 | HOBO U20L-04 | BEGI | VDOS | renamed | renamed as VDO_2
2023-09-13 |  | 21821231 | HOBO U20L-04 | BEGI | BEGI_AIR | renamed | renamed as BEGI_AIR
2023-09-13 |  | 23G103231 | EXO1 | BEGI | SLOW | deployed | Sonde deployed for BEGI: associated sensors= 23G102566, 23E102693, 23F100501, 23C101705
2023-09-13 |  | 23F105009 | EXO1 | BEGI | SLOC | deployed | Sonde deployed for BEGI: associated sensors= 23G102568, 23E102691, 23F100502, 23C101760
2023-09-13 |  | 23G103230 | EXO1 | BEGI | VDOS | deployed | Sonde deployed for BEGI: associated sensors= 23G102567, 23E102692, 23F100502, 23C101760
2023-09-13 |  | 23G103229 | EXO1 | BEGI | VDOW | deployed | Sonde deployed for BEGI: associated sensors= 23G102560, 23F100503, 23E102690, 23C101759
2023-09-27 |  | 1092897 | Solinist Levelogger 5 LTC - Conductivity |  |  | extra | bought new from Solinist
2023-09-28 |  | 1093224 | Solinist Levelogger 5 LTC - Conductivity |  |  | extra | bought new from Solinist
2023-09-29 |  | 1093060 | Solinist Levelogger 5 LTC - Conductivity |  |  | extra | bought new from Solinist
2023-10-03 |  | 21839228 | HOBO U20L-04 |  |  | extra | bought new from Onset
2023-10-03 |  | 21839226 | HOBO U20L-04 |  |  | extra | bought new from Onset
2023-10-03 |  | 21839227 | HOBO U20L-04 |  |  | extra | bought new from Onset
2023-09-22 | 15:15 | 23G103229 | EXO1 | BEGI | VDOW | removed | 15:15
2023-09-22 | 16:00 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 16:00
2023-09-22 | 16:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 16:00
2023-09-22 | 16:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 16:45
2023-09-22 | 16:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 16:45
2023-09-22 | 17:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 17:00
2023-09-22 | 17:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 17:15
2023-09-22 | 18:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 18:00
2023-09-29 |  | 23G103229 | EXO1 | BEGI | VDOW | removed
2023-09-29 |  | 23G103229 | EXO1 | BEGI | VDOW | deployed
2023-09-29 |  | 23G103230 | EXO1 | BEGI | VDOS | removed
2023-09-29 |  | 23G103230 | EXO1 | BEGI | VDOS | deployed
2023-09-29 |  | 23F105009 | EXO1 | BEGI | SLOC | removed
2023-09-29 |  | 23F105009 | EXO1 | BEGI | SLOC | deployed
2023-09-29 |  | 23G103231 | EXO1 | BEGI | SLOW | removed
2023-09-29 |  | 23G103231 | EXO1 | BEGI | SLOW | deployed
2023-10-06 |  | 21839228 | HOBO U20L-04 | USF | USF20 | deployed | This site replaced USF06, which was ~100m downstream but still upstream of confluence with USF07
2023-10-06 |  | 21839227 | HOBO U20L-04 | USF | USF07 | deployed
2023-10-06 |  | 21821229 | HOBO U20L-04 | USF | USF_AIR1 | deployed
2023-10-06 | 8:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:45
2023-10-06 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:15
2023-10-06 | 9:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:15
2023-10-06 | 9:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 9:45
2023-10-06 | 10:00 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:00
2023-10-06 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 10:30
2023-10-06 | 10:45 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:45
2023-10-06 | 11:15 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:15
2023-10-13 | 8:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:45
2023-10-13 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:15
2023-10-13 | 9:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:15
2023-10-13 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:00
2023-10-13 | 10:15 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:15
2023-10-13 | 11:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:00
2023-10-13 | 11:00 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:00
2023-10-13 | 11:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:30
2023-10-20 | 8:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:30
2023-10-20 | 9:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:30
2023-10-20 | 9:30 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:30
2023-10-20 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:00
2023-10-20 | 10:15 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:15
2023-10-20 | 10:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 10:45
2023-10-20 | 10:45 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:45
2023-10-20 | 11:15 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:15
2023-10-27 | 8:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:30
2023-10-27 | 9:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:30
2023-10-27 | 9:30 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:30
2023-10-27 | 10:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:30
2023-10-27 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:30
2023-10-27 | 11:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:15
2023-10-27 | 11:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:15
2023-10-27 | 12:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 12:00
2023-10-28 |  | 21839226 | HOBO U20L-04 | USF | USF13 | deployed
2023-10-28 |  | 21821228 | HOBO U20L-04 | USF | USF14 | deployed
2023-10-28 |  | 21793950 | HOBO U20L-04 | USF | USF_AIR2 | deployed
2023-11-03 | 8:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:45
2023-11-03 | 9:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:30
2023-11-03 | 9:30 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:30
2023-11-03 | 10:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:30
2023-11-03 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:30
2023-11-03 | 11:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:15
2023-11-03 | 11:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:15
2023-11-03 | 12:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 12:00
2023-11-03 | 14:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 14:15
2023-11-03 | 15:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 15:00
2023-11-10 | 8:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:45
2023-11-10 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:15
2023-11-10 | 9:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:15
2023-11-10 | 9:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 9:45
2023-11-10 | 9:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 9:45
2023-11-10 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 10:30
2023-11-10 | 10:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:30
2023-11-10 | 10:45 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 10:45
2023-11-17 | 8:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:30
2023-11-17 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:15
2023-11-17 | 9:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:15
2023-11-17 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:00
2023-11-17 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:30
2023-11-17 | 11:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:00
2023-11-17 | 11:00 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:00
2023-11-17 | 11:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:30
2023-11-22 | 13:15 | 23G103229 | EXO1 | BEGI | VDOW | removed | 13:15
2023-11-22 | 13:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 13:45
2023-11-22 | 13:45 | 23G103230 | EXO1 | BEGI | VDOS | removed | 13:45
2023-11-22 | 14:15 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 14:15
2023-11-22 | 14:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 14:30
2023-11-22 | 15:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 15:00
2023-11-22 | 15:00 | 23G103231 | EXO1 | BEGI | SLOW | removed | 15:00
2023-11-22 | 15:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 15:30
2023-12-01 | 8:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:30
2023-12-01 | 9:00 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:00
2023-12-01 | 9:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:00
2023-12-01 | 9:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 9:30
2023-12-01 | 9:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 9:45
2023-12-01 | 10:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 10:15
2023-12-01 | 10:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:15
2023-12-01 | 10:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 10:30
2023-12-08 | 8:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:30
2023-12-08 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:15
2023-12-08 | 9:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:00
2023-12-08 | 9:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 9:45
2023-12-08 | 9:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 9:45
2023-12-08 | 10:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 10:15
2023-12-08 | 10:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:15
2023-12-08 | 10:45 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 10:45
2023-12-21 | 13:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 13:30
2023-12-21 | 14:00 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 14:00
2023-12-21 | 14:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 14:00
2023-12-21 | 14:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 14:30
2023-12-21 | 14:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 14:30
2023-12-21 | 15:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 15:00
2023-12-21 | 15:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 15:15
2023-12-21 | 16:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 16:00
2024-01-05 | 14:15 | 23G103229 | EXO1 | BEGI | VDOW | removed | 14:15
2024-01-05 | 15:00 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 15:00
2024-01-05 | 15:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 15:00
2024-01-05 | 15:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 15:30
2024-01-05 | 16:00 | 23F105009 | EXO1 | BEGI | SLOC | removed | 16:00
2024-01-05 | 16:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 16:45
2024-01-05 | 16:45 | 23G103231 | EXO1 | BEGI | SLOW | removed | 16:45
2024-01-05 | 17:15 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 17:15
2024-01-19 | 14:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 14:45
2024-01-19 | 15:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 15:30
2024-01-19 | 15:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 15:15
2024-01-19 | 16:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 16:00
2024-01-19 | 16:00 | 23F105009 | EXO1 | BEGI | SLOC | removed | 16:00
2024-01-19 | 16:30 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 16:30
2024-01-19 | 16:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | 16:30
2024-01-19 | 17:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 17:00
2024-01-25 | 11:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 11:30
2024-01-25 | 12:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 12:30
2024-01-25 | 12:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 12:15
2024-01-25 | 12:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 12:45
2024-01-25 | 13:00 | 23F105009 | EXO1 | BEGI | SLOC | removed | 13:00
2024-01-25 | 13:30 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 13:30
2024-01-25 | 13:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 13:15
2024-01-25 | 14:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 14:00
2024-02-06 | 8:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:45
2024-02-06 | 9:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:30
2024-02-06 | 9:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:15
2024-02-06 | 10:15 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:15
2024-02-06 | 10:15 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:15
2024-02-06 | 11:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:00
2024-02-06 | 10:45 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:45
2024-02-06 | 14:45 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 14:45
2024-02-20 | 11:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 11:30
2024-02-20 | 12:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 12:15
2024-02-20 | 12:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 12:00
2024-02-20 | 12:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 12:45
2024-02-20 | 12:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 12:45
2024-02-20 | 13:30 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 1:30
2024-02-20 | 13:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 1:15
2024-02-20 | 13:45 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 1:45
2024-03-05 | 12:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 12:45
2024-03-05 | 13:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 13:45
2024-03-05 | 13:30 | 23G103230 | EXO1 | BEGI | VDOS | removed | 13:30
2024-03-05 | 14:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 14:00
2024-03-05 | 14:00 | 23F105009 | EXO1 | BEGI | SLOC | removed | 14:00
2024-03-05 | 14:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 14:45
2024-03-05 | 14:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | 14:30
2024-03-05 | 15:15 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 15:15
2024-03-19 | 12:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 12:45
2024-03-19 | 13:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 13:30
2024-03-19 | 13:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 13:15
2024-03-19 | 13:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 13:45
2024-03-19 | 13:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 13:45
2024-03-19 | 14:30 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 14:30
2024-03-19 | 14:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 14:15
2024-03-19 | 15:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 15:00
2024-04-02 | 8:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 8:30
2024-04-02 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:15
2024-04-02 | 9:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:00
2024-04-02 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:00
2024-04-02 | 9:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 9:45
2024-04-02 | 10:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 10:15
2024-04-02 | 10:00 | 23G103231 | EXO1 | BEGI | SLOW | removed | 10:00
2024-04-02 | 11:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:00
2024-04-16 | 13:00 | 23G103229 | EXO1 | BEGI | VDOW | removed | 13:00
2024-04-16 | 14:00 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 14:00
2024-04-16 | 13:45 | 23G103230 | EXO1 | BEGI | VDOS | removed | 13:45
2024-04-16 | 14:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 14:45
2024-04-16 | 14:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 14:30
2024-04-16 | 15:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 15:45
2024-04-16 | 15:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | 15:30
2024-04-16 | 16:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 16:30 | estimate
2024-04-17 | 18:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 18:15
2024-04-19 | 17:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 17:30
2024-04-22 |  | 2189767 | Solinist Levelogger 5 LT - Barologger | USF |  | extra
2024-04-22 |  | 2189740 | Solinist Levelogger 5 LT - Barologger | USF |  | extra
2024-04-22 |  | 2189762 | Solinist Levelogger 5 LT - Barologger | USF |  | extra
2024-04-22 |  | 2186481 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186466 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186465 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186474 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186472 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186467 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186469 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186482 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186476 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-22 |  | 2186477 | Solinist Levelogger 5 Junior - Water Level | USF |  | extra
2024-04-23 |  | 21839228 | HOBO U20L-04 | USF | USF06 | removed
2024-04-23 |  | 21839227 | HOBO U20L-04 | USF | USF07 | removed
2024-04-23 |  | 21821229 | HOBO U20L-04 | USF | USF_AIR1 | removed
2024-04-23 |  | 2186481 | Solinist Levelogger 5 Junior - Water Level | USF | USF20 | deployed
2024-04-23 |  | 2186466 | Solinist Levelogger 5 Junior - Water Level | USF | USF07 | deployed
2024-04-23 |  | 2189740 | Solinist Levelogger 5 Junior - Water Level | USF | USF_AIR1 | deployed
2024-04-30 | 9:00 | 23G103229 | EXO1 | BEGI | VDOW | removed | 9:00
2024-04-30 | 9:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 9:45
2024-04-30 | 9:30 | 23G103230 | EXO1 | BEGI | VDOS | removed | 9:30
2024-04-30 | 10:15 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:15
2024-04-30 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:30
2024-04-30 | 11:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:15
2024-04-30 | 11:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:15
2024-04-30 | 11:45 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:45
2024-05-08 |  | 2186482 | Solinist Levelogger 5 Junior - Water Level | USF | USF03 | deployed
2024-05-08 |  | 2186477 | Solinist Levelogger 5 Junior - Water Level | USF | USF05 | deployed
2024-05-24 |  | need verification | Solinist Levelogger 5 Junior - Water Level | USF | USF04 | deployed
2024-05-01 |  | 1094117 | Solinist Levelogger 5 LTC - Conductivity |  |  | extra
2024-05-01 |  | 1094126 | Solinist Levelogger 5 LTC - Conductivity |  |  | extra
2024-05-01 |  | 1094111 | Solinist Levelogger 5 LTC - Conductivity |  |  | extra
2024-05-23 | 12:00 | 2186466 | Solinist Levelogger 5 Junior - Water Level | USF | USF07 | moved | sensor moved from rock bolt to fence post in same stream cross section. depth of logger at rock bolt, 3.8cm, depth of streambed 11.0cm, new depth of logger at fence post: 3.9
2024-05-28 | 11:45 | 23G103229 | EXO1 | BEGI | VDOW | removed | 11:45
2024-05-28 | 12:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 12:45
2024-05-28 | 12:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 12:00
2024-05-28 | 13:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 13:45
2024-05-28 | 14:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 14:45
2024-05-28 | 15:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 15:45
2024-05-28 | 15:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | 15:30
2024-05-28 | 16:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 16:30
2024-05-29 |  | 1094117 | Solinist Levelogger 5 LTC - Conductivity |  |  | renamed | previously "6", now "Azula"
2024-05-29 |  | 1094126 | Solinist Levelogger 5 LTC - Conductivity |  |  | renamed | previously "2", now "Spencer"
2024-05-29 |  | 1094111 | Solinist Levelogger 5 LTC - Conductivity |  |  | renamed | previously "4", now "Fiona"
2024-05-29 |  | 1093224 | Solinist Levelogger 5 LTC - Conductivity |  |  | renamed | previously "3", now "Thermopolis"
2024-05-29 |  | 1093060 | Solinist Levelogger 5 LTC - Conductivity |  |  | renamed | previously "1", now "Kelly"
2024-05-29 |  | 1092897 | Solinist Levelogger 5 LTC - Conductivity |  |  | renamed | previously "5", now "Toadstool"
2024-06-10 | 9:30 | 23G103229 | EXO1 | BEGI | VDOW | removed | 9:30
2024-06-10 | 10:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 10:15
2024-06-10 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | removed | 10:00
2024-06-10 | 10:45 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 10:45
2024-06-10 | 10:45 | 23F105009 | EXO1 | BEGI | SLOC | removed | 10:45
2024-06-10 | 11:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 11:15
2024-06-10 | 11:15 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:15
2024-06-10 | 11:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 11:30
2024-06-11 | 13:00 | 23G103229 | EXO1 | BEGI | VDOW | removed | 13:00
2024-06-11 | 13:30 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 13:30
2024-06-11 | 13:15 | 23G103230 | EXO1 | BEGI | VDOS | removed | 13:15
2024-06-11 | 13:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 13:30
2024-06-11 | 13:30 | 23F105009 | EXO1 | BEGI | SLOC | removed | 13:30
2024-06-11 | 13:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 13:45
2024-06-11 | 13:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | 13:30
2024-06-11 | 14:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 14:00
2024-06-24 | 10:00 | 23G103229 | EXO1 | BEGI | VDOW | removed | 10:00
2024-06-24 | 10:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed | 10:45
2024-06-24 | 10:30 | 23G103230 | EXO1 | BEGI | VDOS | removed | 10:30
2024-06-24 | 11:15 | 23G103230 | EXO1 | BEGI | VDOS | deployed | 11:15
2024-06-24 | 11:15 | 23F105009 | EXO1 | BEGI | SLOC | removed | 11:15
2024-06-24 | 12:00 | 23F105009 | EXO1 | BEGI | SLOC | deployed | 12:00
2024-06-24 | 11:45 | 23G103231 | EXO1 | BEGI | SLOW | removed | 11:45
2024-06-24 | 12:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed | 12:30
2024-06-28 | 14:00 | 23F105009 | EXO1 | BEGI | SLOC | removed | fDOM sensor had been faulting, so sonde was taken to lab to assess. In lab, all sensor ports were dried out, cleaned, greased, and replaced; DO perc sat and depth sensors were calibrated
2024-06-28 | 13:45 | 23G103231 | EXO1 | BEGI | SLOW | removed
2024-06-28 | 14:15 | 23G103231 | EXO1 | BEGI | SLOW | deployed
2024-07-02 | 12:30 | 23G103231 | EXO1 | BEGI | SLOW | removed | DO perc sat and depth sensor calibrated in field
2024-07-02 | 13:45 | 23G103231 | EXO1 | BEGI | SLOW | deployed
2024-07-02 | 13:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed | redeployed as everything seemed OK in lab
2024-07-02 | 12:30 | 21821227 | HOBO U20L-04 | BEGI | SLOW | removed | all data downloaded and cleared from sensor memory. Looks like memory filled up in June!
2024-07-02 | 13:40 | 21821227 | HOBO U20L-04 | BEGI | SLOW | deployed
2024-07-02 | 12:30 | 21821230 | HOBO U20L-04 | BEGI | SLOC | removed | all data downloaded and cleared from sensor memory. Looks like memory filled up in June!
2024-07-02 | 13:40 | 21821230 | HOBO U20L-04 | BEGI | SLOC | deployed
2024-07-09 | 11:00 | 23G103229 | EXO1 | BEGI | VDOW | removed
2024-07-09 | 12:15 | 23G103229 | EXO1 | BEGI | VDOW | deployed
2024-07-09 | 11:45 | 23G103230 | EXO1 | BEGI | VDOS | removed
2024-07-09 | 13:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed
2024-07-09 | 13:15 | 23F105009 | EXO1 | BEGI | SLOC | removed
2024-07-09 | 13:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed
2024-07-09 | 13:30 | 23G103231 | EXO1 | BEGI | SLOW | removed
2024-07-09 | 14:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed
2024-07-22 | 9:15 | 23G103229 | EXO1 | BEGI | VDOW | removed
2024-07-22 | 10:00 | 23G103229 | EXO1 | BEGI | VDOW | deployed
2024-07-22 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | removed
2024-07-22 | 10:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed
2024-07-22 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | removed
2024-07-22 | 11:15 | 23F105009 | EXO1 | BEGI | SLOC | deployed
2024-07-22 | 11:00 | 23G103231 | EXO1 | BEGI | SLOW | removed
2024-07-22 | 11:30 | 23G103231 | EXO1 | BEGI | SLOW | deployed
2024-07-26 | 11:45 |  | Solinist Levelogger 5 Junior - Water Level | USF | USF14 | moved | no change in offset recorded. sensor was moved several ft downstream so is in new cross section
2024-07-08 | 8:31 | buttercup | s::can | USF | USF12
2024-07-08 | 14:05 | blossom | s::can | USF | USF20
2024-06-24 | 9:06 | buttercup | s::can | USF | USF12
2024-06-24 |  | blossom | s::can | USF | USF20
2024-05-07 |  | buttercup | s::can | USF | USF12
2024-05-08 |  | blossom | s::can | USF | USF20
2024-07-26 |  | bubbles | s::can | USF | USF21
2024-07-30 |  | buttercup | s::can | USF | USF12
2024-07-30 |  | blossom | s::can | USF | USF20
2024-08-05 | 9:00 | 23G103229 | EXO1 | BEGI | VDOW | removed
2024-08-05 | 9:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed
2024-08-05 | 9:30 | 23G103230 | EXO1 | BEGI | VDOS | removed
2024-08-05 | 10:00 | 23G103230 | EXO1 | BEGI | VDOS | deployed
2024-08-05 | 10:00 | 23F105009 | EXO1 | BEGI | SLOC | removed
2024-08-05 | 10:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed
2024-08-05 | 10:30 | 23G103231 | EXO1 | BEGI | SLOW | removed
2024-08-05 | 11:00 | 23G103231 | EXO1 | BEGI | SLOW | deployed
2024-08-21 | 9:00 | 23G103229 | EXO1 | BEGI | VDOW | removed
2024-08-21 | 9:45 | 23G103229 | EXO1 | BEGI | VDOW | deployed
2024-08-21 | 9:45 | 23G103230 | EXO1 | BEGI | VDOS | removed
2024-08-21 | 10:30 | 23G103230 | EXO1 | BEGI | VDOS | deployed
2024-08-21 | 10:30 | 23F105009 | EXO1 | BEGI | SLOC | removed
2024-08-21 | 11:45 | 23F105009 | EXO1 | BEGI | SLOC | deployed
2024-08-21 | 11:30 | 23G103231 | EXO1 | BEGI | SLOW | removed
2024-08-21 | 12:15 | 23G103231 | EXO1 | BEGI | SLOW | deployed
2024-09-04 | 10:45 | 23G103229 | EXO1 | BEGI | VDOW | removed
2024-09-04 | 11:45 | 23G103230 | EXO1 | BEGI | VDOS | removed
2024-09-04 | 12:30 | 23F105009 | EXO1 | BEGI | SLOC | removed
2024-09-04 | 13:15 | 23G103231 | EXO1 | BEGI | SLOW | removed
2024-10-24 | 13:15 |  | Solinist Levelogger 5 Junior - Water Level | USF | USF20 | moved | sensor moved from rock to fence post in same stream cross section. Depth on rock was 13 cm; depth on fence post now 43.5 cm
2025-02-19 | 7:46 | 23G103230 | EXO1 | BEGI | SLOW | deployed | battery test 93.8% full at deployment new battery
2025-02-19 | 8:16 | 23G103231 | EXO1 | BEGI | SLOC | deployed | battery test 95.4% full at deployment new battery
2025-02-20 | 17:00 | 21839226 | HOBO U20L-04 | USF | USF12 | deployed | Deployed due to USGS station being frozen
2025-04-15 |  | 21821227 | HOBO U20L-04 | BEGI | SLOW | removed | Broken?
|  | 21793950 | HOBO U20L-04 | USF | USF_AIR2 | removed | Found in lab unclear when it was removed -RM
2025-04-30 | 9:30 | 23G103230 | EXO1 | BEGI |  | deployed | CRAW_W 89.4% bat
2025-04-30 | 9:30 | 22260676 | HOBO U20L-04 | BEGI |  | deployed | CRAW_W
2025-06-05 |  | 21821228 | HOBO U20L-04 | USF |  |  | Sensor back from repair

## drop_down_list
model | project | location | observation
HOBO U20L-04 | BEGI | VDOW | deployed
Solinist Levelogger 5 LTC - Conductivity | USF | VDOS | removed
Solinist Levelogger 5 Junior - Water Level |  | SLOC | battery replaced
Solinist Levelogger 5 LT - Barologger |  | SLOW | note
EXO1 |  | BEGI_AIR | renamed
s::can |  | USF03 | moved
YSI |  | USF04
|  | USF05 | extra
USF06
USF07
USF12
USF13
USF14
USF19
USF20
USF21
USFX
USF_AIR1
USF_AIR2